# Window Replacement at the

# Shelby County Courthouse

ADDENDUM NO. 1

Date:	September 18, 2015

RE:	Window Disposal

Window Glass

- Shelby County would like to have 50 each of the old sashes that are removed and wrapped in plastic, to be delivered to our secure storage warehouse and stacked on our pallets.  Shelby County will load pallets into warehouse.

- Glass Specification: Change Replacement Vinyl (PVC) Window Specification 08 5300; 2.3; C. from “Low-E” coating to “Cardinal LoE3-366 Glass” with stainless steel spacer and Dual Durometer Window Seals. Or and Equal.

BID DATE AND TIME:

Thursday, September 22, 2015 @ 2:00 p.m.

Location for the bid opening remains the Work Session Conference Room in the County Administration Building located at 200 West College Street, Columbiana, AL 35051

* * * * * * * * * * * * * * * *