

**STATE OF ALABAMA December 7, 2020**

**COUNTY OF SHELBY**

**SEALED BIDS FOR EMS - BACKBOARDS AND RESTRAINING EQUIPMENT**

Sealed bids for **EMS-BACKBOARDS AND RESTRAINING EQUIPMENT** will be received in the office of the County Manager, Shelby County Administration Building, 200 West College Street-Room 123, Columbiana, Alabama 35051 until 2:30 P.M., January 5, 2021, at which time bids will be opened publicly and read. The County Commission reserves the right to reject any or all bids and to waive informalities in awarding this bid to the lowest responsive bidder. Bidders are to state that bids submitted are firm and that no claims for errors will be made after bids are opened and subsequent thereof. If you have any questions concerning bid specifications, please contact Hub Harvey or Mindy Nash, Emergency Management at (205) 669-3999.

**GENERAL INFORMATION**

All bidders **must** use our form for submitting their bid. All bids must be sealed and marked in the lower left-hand corner **"BIDS – EMS BACKBOARDS AND RESTRAINING EQUIPMENT"** with opening date and time. Late bids will not be opened. Bids will not include State Sales Tax or Federal Excise Tax.

Records showing successful bidder and prices quoted will be placed on file and may be examined upon request. If contract is awarded to someone other than lowest bidder, a note of explanation will appear in the bid file and Commission Minutes. Use of trade names and numbers shall be interpreted as establishing a standard of quality and shall not be construed as limiting competition.

**DISQUALIFICATION OF BIDS**

Bids may be disqualified before awarding of the contract for any of the following:

1. Failure to mark envelope as required.

2. Failure to sign or notarize the bid document.

3. Failure to include requested information, samples when specified or other details of the bid.

**METHOD OF AWARD**

The award will be made to the lowest responsible bidder meeting specifications for each item bid. It is not the policy of the Shelby County Commission to purchase on the basis of low bid only. Quality, conformity with specifications, purpose for which required, terms of delivery, and past service and experience are among the factors that may be considered in determining the responsive bidder.

The Shelby County Commission reserves the right to award separate contracts for each item, each product, or any combination of products if in the best interest of the Shelby County Commission. Upon awarding of this contract and bid the Shelby County Commission reserves the sole right to end said contract at their sole discretion.

**CONTRACT PERIOD/PRICING**

The period of this contract will be for one (1) year from date bid is awarded. This contract may be renewed for up to three (3) years from the initial award date upon the agreement of both parties.

**IMMIGRATION LAW**

By signing this contract, the contracting parties affirm, for the duration of the agreement, that they will not violate federal immigration law or knowingly employ, hire for employment, or continue to employ an unauthorized alien within the State of Alabama. Furthermore, a contracting party found to be in violation of this provision shall be deemed in breach of the agreement and shall be responsible for all damages resulting therefrom.

**OPEN TRADE**

By signing this contract, vendor agrees that it is not currently engaged in, nor will it engage in, any boycott of a person or entity based in or doing business with a jurisdiction with which the State of Alabama can enjoy open trade.

Please provide your bid response in triplicate, one original and two copies.

Bids will not include State Sales Tax or Federal Excise Tax. **Bid price submitted shall include price "DELIVERED"(including surcharges, shipping charges, etc.)**

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Chad Scroggins

County Manager

**BID SPECIFICATIONS / QUOTATION SHEET**

**EMS BACKBOARDS AND RESTRAINING EQUIPMENT**

#### GENERAL REQUIREMENTS

1. Please review each item carefully. Bid items/specifications have changed from previous years.
2. Items should be on a price per unit basis, unless otherwise stated.
3. Bid price to include shipping.
4. Unit(s) will be new unless specified otherwise.
5. All items within an order should be included in one shipment. (One order, one shipment).
6. Samples shall be provided by the date of bid opening.
7. All items must be delivered within 30 days from date of order. Items requiring more than 30 days delivery time must have prior approval. If items are not received within the specified delivery time, orders will be canceled and will go to the next lowest vendor.

**EQUIPMENT LIST:**

1. **AIR SPLINT KIT** - Heavy duty clear, reusable air splints with zippered compartments. Kit to include: 1 full arm splint, 1 half arm splint, 1 full leg splint, 1 half leg splint, 1 hand/wrist splint, 1 foot/ankle splint and repair kit. **Curaplex, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **SPLINT** - Reusable rigid but moldable splint, 4.25" X 36", 4 oz. in weight, orange/blue color. **SAM splint, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **TRACTION SPLINT “OPTIMUM ”,**  with pouch, street orange, adult/pediatric, **no substitution.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **EXTRICATION AND IMMOBILIZATION DEVICE** - 18 ounce vinyl coated nylon, nylon straps with 6000 pound seat belt type strapping, six handles, steel oxide coated rings, carrying case, orange and black in color. **Reeves sleeve, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **DISPOSABLE ADJUSTABLE CERVICAL COLLAR** - Rigid cervical extrication collar. Adjustable to four adult sizes – 16 settings from neckless to tall. Flip chin piece for flat storage and preshape to fit the chin, and to facilitate intubation and removal of vomitus from the patient's mouth. Radiolucent, CT & MRI compatible, and has a ventilated posterior shell for fluid drainage. Single patient use. Requires no cleanup or equipment recovery. **AMBU, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **DISPOSABLE ADJUSTABLE PEDIATRIC CERVICAL COLLAR** - Rigid cervical extrication collar. Adjustable to three pediatric sizes – large, medium & small. Rear panel opening to allow for C-spine palpation and visualization and large trachea opening to allow for pulse checks and visualization of anterior neck. Single patient use. Requires no cleanup or equipment recovery. **AMBU, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **DISPOSABLE CERVICAL IMMOBILIZER** - Designed for effective motion restriction of infants, children, and adults. Device to allow for outstanding patient access for effective assessment without compromising immobilization. Single patient use. Requires no cleanup or equipment recovery. **Sta-Block Head Immobilizer, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **EXTRICATION DEVICE** - To be used to maintain cervical spine alignment for injured persons. Fabric to be non-permeable and have color-coded nylon straps. Must contain head and chin straps, head pad and a carry case. **K.O.D.E 2.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **PEDIATRIC IMMOBILIZATION BOARD** - To immobilize children from 10 to 85 pounds and from 25-54 inches in length, padded full head harness, Cordura or Impervagard covering, Velcro straps, no buckles. Storage for cervical collars in back pouch and new Broselow Tape holding sleeve. Radio transparent. Carrying case included**. LSP Infant / Pediatric Immobilization Board or equivalent.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **PLASTIC SPINE BOARD** **YELLOW WITH PINS**- Provides X-Ray translucence with the rigidity that is needed to protect the patient from further injury. At 71 inch L x 15.75 inch W x 1.85 inch D and weighing just 15 pounds, fits into standard storage areas and is easily carried to the patient. The smooth surface allows for easy cleaning and disinfecting, while the construction prevents the intrusion of liquids into the board. Float capability. 1000 pound tested weight. **Xtra backboard** **Yellow with pins L812014A no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **FLOTATION COLLAR FOR BASKET STRETCHER** - Must float a Ferno Model 71, Junkin Plastic/Steel Mesh, and Dyna-Med Basket Stretcher or equivalent with a minimum weight load of 175 lbs.

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **FOUR POINT BRIDLE FOR BASKET STRETCHERS** – Bridle can be used for horizontal and vertical lifts with all common plastic and wire basket stretchers including Ferno Model 71, Junkin Plastic/Steel Mesh, and Dyna-Med Basket Stretcher. Constructed of durable woven nylon with solid steel attachment hardware and brass locking mechanisms. 62” L, 5.8 lbs., Max. Load, 500 lbs. **Dyna-Med Four Point Bridle.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **CONFINED SPACE STRETCHER Plastic Coated** 19” width Confined Space Splint Rescue Stretcher. All steel, all welded rigid construction. Lightweight. 18 gage, 1” hexagon mesh netting, nylon web straps for securing chest, abdomen, thigh and calf. Dimensions 80-1/2” LX 18-3/8” WX 7-3/4”H **Junkin JSA-300-CS.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **CONFINED SPACE STRETCHER Plastic Coated 24”** Confined Space Splint Rescue Stretcher. All steel, all welded rigid construction. Lightweight. 18 gage, 1” hexagon mesh netting, nylon web straps for securing chest, abdomen, thigh and calf. Plastic coated. Dimensions 82”L: 8-1/2: H 24-1/2” W **Junkin JSA-300-PC.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **SCOOP STRETCHER EXL (RED) WITH 3 PACK OF 430-P BLACK RESTRAINTS** – Recessed head section, 500 lb load limit, thermally treated polymer construction, x-ray translucent, folds to 47” for compact carrying, total weight 18 lbs or less, narrow foot end section with split-apart design. **Ferno Washington Item 00065EXLRED.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **SOFT STRETCHER** – Strong, versatile, compact stretcher that is specially designed for moving heavier patients and getting them out of confined areas. ***60" long x 24" wide*** 1000 Denier Cordura® Nylon with full perimeter reinforced webbing. Center hook-and loop “seatbelt”. ***Must have a minimum of 14 handles, six per side***. Must hold at least 1000 lbs. **Megamover Soft Stretcher.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **QUICK-RELEASE BUCKLED STRAP SET** - Stretcher straps, two inches wide, heavy duty seat belt type webbing, metal buckles, and 9' L. Black in color. **Iron Duck Universal Precautions straps or equivalent.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **SPEED CLIP STRAP SET** – 5-foot straps with quick-release, metal buckle and metal speed clip connector. Heavy duty seat belt type webbing. Orange in color. **Iron Duck Universal Precautions straps or equivalent.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **BACKBOARD STRAPPING SYSTEM** - Five 2" cross straps and 2" suspender type over-the-shoulder straps. Color-coded adjustable nylon webbing with Velcro closures and EZ Peel ends. 12 points of attachment. **Morrison Medical Best Strap System, Super Deluxe or equivalent.**
2. **FERNO Model 59-T EZ-Guide Stair Chair** 500 lb weight capacity. Telecoping 5-position rear lift bar handle. 4” swivel front wheels, 6” rear wheels. Positive locking hinge mechanism to lock in place. Removable plastic seat panels. Extending foot rest. Metal frame. 1” track to ground clearance when track is extended. **Item 0731325, no substitutions.**

**PRICE EACH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ITEM NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **QUOTATION SHEET**  **EMS-BACKBOARDS AND RESTRAINING EQUIPMENT (DELIVERED)**     |  |  |  |  | | --- | --- | --- | --- | | 01 | BB | Air Splint Kit | $ \_\_\_\_\_\_\_ | | 02 | BB | Splint | $\_\_\_\_\_\_\_\_ | | 03 | BB | Traction Device "Optimum" | $\_\_\_\_\_\_\_\_ | | 04 | BB | Extrication and Immobilization Device | $\_\_\_\_\_\_\_\_ | | 05 | BB | Disposable Adjustable Cervical Collar | $\_\_\_\_\_\_\_\_ | | 06 | BB | Disposable Adjustable Pediatric Cervical Collar | $\_\_\_\_\_\_\_\_ | | 07 | BB | Disposable Cervical Immobilizer | $\_\_\_\_\_\_\_\_ | | 08 | BB | Extrication Device | $\_\_\_\_\_\_\_\_ | | 09 | BB | Pediatric Immobilization Board | $\_\_\_\_\_\_\_\_ | | 010 | BB | Plastic Spine Board Yellow with Pins | $\_\_\_\_\_\_\_\_ | | 011 | BB | Flotation Collar for Basket Stretcher | $\_\_\_\_\_\_\_\_ | | 012 | BB | Four Point Bridle for Basket Stretchers | $\_\_\_\_\_\_\_\_ | | 013 | BB | Confined space stretcher 19" Plastic Coated | $\_\_\_\_\_\_\_\_ | | 014 | BB | Confined space stretcher 24" Plastic Coated | $\_\_\_\_\_\_\_\_ | | 015 | BB | Scoop Stretcher EXL Red with 430-P Restraints | $\_\_\_\_\_\_\_\_ | | 016 | BB | Soft Stretcher | $\_\_\_\_\_\_\_\_ | | 017 | BB | Quick-Release Buckled Strap Set | $\_\_\_\_\_\_\_\_ | | 018 | BB | Speed Clip Strap Set | $\_\_\_\_\_\_\_\_ | | 019 | BB | Backboard Strapping System | $\_\_\_\_\_\_\_\_ | | 020 | BB | FERNO Model 59-T EZ-Guide Stair Chair | $\_\_\_\_\_\_\_\_ | |

THE UNDERSIGNED OFFERS THESE PRICES, TERMS, AND DELIVERY AS PER BID SPECIFICATIONS:

NAME OF COMPANY: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

BY (Please Print): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

SIGNATURE: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

ADDRESS: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

PHONE: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**BIDS SUBMITTED ARE FIRM AND NO CLAIMS FOR ERRORS WILL BE**

**MADE AFTER BIDS ARE OPENED AND SUBSEQUENT THEREOF.**

Sworn to and subscribed before me this

the\_\_\_\_\_\_\_\_\_day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, 2020.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Notary Public

My Commission Expires:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_